## Sheet1
| Name | Field Type | Type | Width | Precision | Minimum | Maximum | Default | Source | Required | Formula
1 | Accuracy_Level | Sample | Text | 20 |  |  |  |  | Keyboard | FALSE
2 | Added_Amount | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | Value/SD1*SD2/SD3*SD4/SD5*SD6/SD7*Standard_Potency/100*MW1/MW2*1000
3 | Added_Amount_Percentage | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | Added_Amount/Sample_Concentration_PPM*100
4 | Added_Amount_PPM | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | SampleWeight/TD1*TD2/TD3*TD4/TD5*TD6/TD7*Sample_Potency/100*MW1/MW2 *1000
5 | Amount_Label | Peak | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Calculated | FALSE | (Area*Value)/(STD_AVG_Area*SampleWeight)
6 | Area_Correction | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | Area-(EQI(Peak Label,"M")*Blank_Response+EQI(Peak Label,"K")*Blank_Response+EQI(Peak Label,"U")*Blank_Response)
7 | Assay_Average_Area | Peak | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Calculated | FALSE | mg_Per_Unit_Average_Area/Label_Claim*100
8 | Assay_PPM | Peak | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Calculated | FALSE | Assay_Single_Area*10000
9 | Assay_Single_Area | Peak | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Calculated | FALSE | mg_Per_Unit_Single_Area/Label_Claim*100
10 | Assay_Single_Area_Amnt_Label | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | (Amount_Label*Dilution_Factor*Standard_Potency/100*(100-LOD_Std-Water_Std-OVI_Std)/(100-LOD_Spl-Water_Spl-OVI_Spl)*Average_Weight*Dissolution_Media_Volume/No_Of_Units*Dose_In_ml*Weight_Per_mL*MW1/MW2)/Label_Claim*100
11 | Assay_Single_Area_Label_1st | Peak | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Calculated | FALSE | SAME.1..MAX((Amount*Dilution_Factor*Standard_Potency/100*(100-LOD_Std-Water_Std-OVI_Std)/(100-LOD_Spl-Water_Spl-OVI_Spl)*Average_Weight*Dissolution_Media_Volume/No_Of_Units*Dose_In_ml*Weight_Per_mL*MW1/MW2)/Label_Claim*100)
12 | Assay_Single_Area_Label_2nd | Peak | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Calculated | FALSE | SAME.2..MAX((Amount*Dilution_Factor*Standard_Potency/100*(100-LOD_Std-Water_Std-OVI_Std)/(100-LOD_Spl-Water_Spl-OVI_Spl)*Average_Weight*Dissolution_Media_Volume/No_Of_Units*Dose_In_ml*Weight_Per_mL*MW1/MW2)/Label_Claim*100)
13 | AV | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | ABS(M_Value-Average_Percentage_Assay)+KS
14 | Average_Percentage_Assay | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | SAME.%..AVE(Assay_Single_Area)
15 | Average_Weight | Sample | Real (0.0) | 12 | 3 | -100000000 | 100000000 | 1 | Keyboard | TRUE
16 | AVE_RECOVERY_ASSAY | Peak | Real (0.0) | 12 | 1 | -10000000000 | 10000000000 |  | Calculated | FALSE | SAME.%..AVE(Recovery_UNSP)+EQ(Injection,1)*-1*50000+EQ(Injection,3)*-1*50000
17 | Avg_Assay_PPM | Peak | Real (0.0) | 12 | 0 | -99999999999 | 100000000000 |  | Calculated | FALSE | SAME.%..AVE(Assay_PPM)
18 | AVG_FOUND_AMOUNT | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | SAME.%..AVE(Found_Amoun_UNSP)+EQ(Injection,1)*-1*50000+EQ(Injection,3)*-1*50000
19 | AVG_Percentage_Assay_Label | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | (Assay_Single_Area_Label_1st+Assay_Single_Area_Label_2nd)/2
20 | AV_30 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | ABS(M_Value-Average_Percentage_Assay)+K_30
21 | Batch_No | Sample | Text | 45 |  |  |  |  | Keyboard | FALSE
22 | Blank_Response | Peak | Real (0.0) | 12 | 6 | -100000 | 100000 |  | Calculated | FALSE | Blank.%.(Area)
23 | Column Name | Sample | Text | 32 | 0 | 0 | 0 |  | Keyboard | FALSE
24 | Column Serial Number | Sample | Text | 32 | 0 | 0 | 0 |  | Keyboard | FALSE
25 | Column_No | Sample | Text | 20 |  |  |  |  | Keyboard | FALSE
26 | Corrected_Area_AN | Peak | Real (0.0) | 12 | 0 | -99999999999 | 100000000000 |  | Calculated | FALSE | EQI(Peak Label,"K")*Area/RRF2+EQI(Peak Label,"U")*Area/RRF2+EQI(Peak Label,"M")*Area
27 | Corrected_Area_AN_Label | Peak | Real (0.0) | 12 | 0 | -99999999999 | 100000000000 |  | Calculated | FALSE | SAME.1..MAX(EQI(Peak Label,"K")*Area/RRF2+EQI(Peak Label,"U")*Area/RRF2+EQI(Peak Label,"M")*Area)
28 | Corrected_Area_Area_Dis | Peak | Real (0.0) | 12 | 0 | -99999999999 | 100000000000 |  | Calculated | FALSE | GTE(Area,Disregard_Value)*Area
29 | CUMMULATIVE_PERCENT_RSD | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | S1%.%..%RSD(Area)
30 | Dilution | Sample | Real (0.0) | 11 | 4 | 0 | 1000000 | 1 | Keyboard | FALSE
31 | Dilution_Factor | Peak | Real (0.0) | 12 | 5 | -1000000 | 1000000 |  | Calculated | FALSE | 1/SD1*SD2/SD3*SD4/SD5*SD6/SD7*TD1/1*TD3/TD2*TD5/TD4*TD7/TD6
32 | Disregard_Factor | Component | Real (0.0) | 12 | 3 | -100000000 | 100000000 | 1 | Keyboard | FALSE
33 | Disregard_Factor1 | Peak | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Calculated | FALSE | Disregard_Factor
34 | Disregard_Reference | Peak | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Calculated | FALSE | CCompRef1[Standard_Average_Area]
35 | Disregard_Value | Peak | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Calculated | FALSE | Disregard_Factor*Disregard_Reference
36 | Dissolution_Media_Volume | Sample | Real (0.0) | 12 | 0 | -99999999 | 100000000 | 1 | Keyboard | TRUE
37 | Dose_In_ml | Sample | Real (0.0) | 12 | 1 | -100000000 | 100000000 | 1 | Keyboard | TRUE
38 | Flow_Rate | Sample | Text | 25 |  |  |  |  | Keyboard | FALSE
39 | Found_Amount | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | (Area-AS.%.(Area))/Standard_Average_Area*RRF1/RRF2*Standard_Weight*STD_CON*(S1.%.(Standard_Potency))/100*(S1.%.(MW1))/(S1.%.(MW2))*1000
40 | Found_Amount_PPM | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | Sample_Response_Mean/Standard_Average_Area_Cal*Value/SD1*SD2/SD3*SD4/SD5*SD6/SD7*Standard_Potency/100*MW1/MW2 *RRF1/RRF2*1000
41 | Found_Amoun_UNSP | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | Area/Standard_Average_Area*RRF1/RRF2*Standard_Weight*STD_CON*(S1.%.(Standard_Potency))/100*(S1.%.(MW1))/(S1.%.(MW2))*1000
42 | Higher_Limit_Individual_Unit | Peak | Real (0.0) | 12 | 1 | -10000000000 | 10000000000 |  | Calculated | FALSE | (1+(0.01*L2))*M_Value
43 | Instrument_ID | Sample | Text | 32 |  |  |  |  | Keyboard | FALSE
44 | K | Sample | Real (0.0) | 12 | 1 | -100000000 | 100000000 | 2.4 | Keyboard | TRUE
45 | KS | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | K*Standard_Deviation_Perc_Assay
46 | KS_30 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | K_30*Standard_Deviation_Perc_Assay
47 | K_30 | Sample | Real (0.0) | 12 | 1 | -100000000 | 100000000 |  | Keyboard | FALSE
48 | L1 | Component | Real (0.0) | 12 | 0 | -99999999 | 100000000 | 15 | Keyboard | FALSE
49 | L1_1 | Peak | Real (0.0) | 12 | 0 | -99999999999 | 100000000000 |  | Calculated | FALSE | L1
50 | L2 | Component | Real (0.0) | 12 | 0 | -99999999 | 100000000 | 25 | Keyboard | FALSE
51 | L2_1 | Peak | Real (0.0) | 12 | 0 | -99999999999 | 100000000000 |  | Calculated | FALSE | L2
52 | Label_Claim | Component | Real (0.0) | 12 | 4 | -100000000 | 100000000 | 1 | Keyboard | FALSE
53 | Label_Claim1 | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | Label_Claim
54 | Label_Claim_1 | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | Label_Claim
55 | Level Values | Sample | Enum | 32 | 0 | 0 | 0 |  | Keyboard | FALSE
56 | LimsSampleId | Sample | Text | 20 |  |  |  |  | Keyboard | FALSE
57 | LimsTestId | Sample | Text | 20 |  |  |  |  | Keyboard | FALSE
58 | LOD_Determination_percentage | Peak | Real (0.0) | 14 | 4 | -1000000000 | 1000000000 |  | Calculated | FALSE | LOD_DETERMIN_PPM/Sample_Concentration_PPM*100
59 | LOD_DETERMIN_PPM | Peak | Real (0.0) | 14 | 4 | -1000000000 | 1000000000 |  | Calculated | FALSE | (3.3*Standard Error)/B
60 | LOD_Spl | Sample | Real (0.0) | 12 | 2 | -100000000 | 100000000 | 0 | Keyboard | TRUE
61 | LOD_Std | Component | Real (0.0) | 12 | 2 | -100000000 | 100000000 | 0 | Keyboard | FALSE
62 | LOD_Std_1 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | LOD_Std
63 | LOQ_Determination_Percentage | Peak | Real (0.0) | 14 | 4 | -1000000000 | 1000000000 |  | Calculated | FALSE | LOQ_DETERMIN_PPM/Sample_Concentration_PPM*100
64 | LOQ_DETERMIN_PPM | Peak | Real (0.0) | 14 | 4 | -1000000000 | 1000000000 |  | Calculated | FALSE | (10*Standard Error)/B
65 | LOQ_Percentage | Component | Real (0.0) | 12 | 5 | -100000000 | 100000000 | 0 | Keyboard | FALSE
66 | LOQ_Percentage1 | Peak | Real (0.0) | 12 | 5 | -1000000 | 1000000 |  | Calculated | FALSE | LOQ_Percentage
67 | Lower_Limit_Individual_Unit | Peak | Real (0.0) | 12 | 1 | -10000000000 | 10000000000 |  | Calculated | FALSE | (1-(0.01*L2))*M_Value
68 | MAX_ASSAY_SINGLE_AREA | Peak | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Calculated | FALSE | SAME.%..MAX(Assay_Single_Area)
69 | mg_Per_Unit_Average_Area | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | mg_Per_Unit_Single_Area*Sample_Average_Area/Area
70 | mg_Per_Unit_Single_Area | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | Amount*Dilution_Factor*Standard_Potency/100*(100-LOD_Std-Water_Std-OVI_Std)/(100-LOD_Spl-Water_Spl-OVI_Spl)*Average_Weight*Dissolution_Media_Volume/No_Of_Units*Dose_In_ml*Weight_Per_mL*MW1/MW2
71 | MIN_ASSAY_SINGLE_AREA | Peak | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Calculated | FALSE | SAME.%..MIN(Assay_Single_Area)
72 | MW1 | Component | Real (0.0) | 12 | 3 | -100000000 | 100000000 | 1 | Keyboard | FALSE
73 | MW1_1 | Peak | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Calculated | FALSE | MW1
74 | MW2 | Component | Real (0.0) | 12 | 3 | -100000000 | 100000000 | 1 | Keyboard | FALSE
75 | MW2_1 | Peak | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Calculated | FALSE | MW2
76 | M_Value | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | LT(Average_Percentage_Assay,98.5)*98.5+LTE(Average_Percentage_Assay,101.5)&GTE(Average_Percentage_Assay,98.5)*Average_Percentage_Assay+GT(Average_Percentage_Assay,101.5)*101.5
77 | No_Of_Units | Sample | Real (0.0) | 12 | 0 | -99999999 | 100000000 | 1 | Keyboard | TRUE
78 | OVI_Spl | Sample | Real (0.0) | 12 | 2 | -100000000 | 100000000 | 0 | Keyboard | TRUE
79 | OVI_Std | Component | Real (0.0) | 12 | 2 | -100000000 | 100000000 | 0 | Keyboard | FALSE
80 | OVI_Std_1 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | OVI_Std
81 | Percentage_Area_Corrected_AN | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | Corrected_Area_AN/Total_Corrected_Area_AN*100
82 | Percentage_Drug_Released | Peak | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Calculated | FALSE | ROUND((Dissolved Amount*Standard_Potency*Dilution_Factor*MW1)/(MW2*Label_Claim) ,0)
83 | Percentage_Impurity | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | (EQI(Peak Label,"K")+EQI(Peak Label,"U"))*Amount*Dilution_Factor*Average_Weight/Label_Claim*MW1/MW2*Standard_Potency/100*100*RRF1/RRF2
84 | Percentage_Impurity_AMV | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | (EQI(Peak Label,"K")+EQI(Peak Label,"U"))*Amount*STD_CON*TD1/1*TD3/TD2*TD5/TD4*TD6/TD7*Average_Weight/Label_Claim*(S1.%.(MW1/MW2*Standard_Potency/100))*100*RRF1/RRF2
85 | Percentage_Impurity_AN | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | Percentage_Area_Corrected_AN*RRF1/RRF2
86 | Percentage_Impurity_AN_Label | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | Percnt_Area_Corrected_AN_Labl*RRF1/RRF2
87 | Percentage_Impurity_Label | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | SAME.1..MAX((EQI(Peak Label,"K")+EQI(Peak Label,"U"))*Amount*Dilution_Factor*Average_Weight/Label_Claim*MW1/MW2*Standard_Potency/100*100*RRF1/RRF2)
88 | Percentage_Imp_AN_LOQ_Dis | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | GTE(Percentage_Impurity_AN,LOQ_Percentage)*Percentage_Impurity_AN
89 | Percentage_Imp_AN_LOQ_Report | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | GTE(Percentage_Impurity_AN,LOQ_Percentage)*Percentage_Impurity_AN+LT(Percentage_Impurity_AN,LOQ_Percentage)*-1*60009
90 | Percentage_Imp_LOQ_Dis | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | GTE(Percentage_Impurity,LOQ_Percentage)*Percentage_Impurity
91 | Percentage_Imp_LOQ_Dis_AMV | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | GTE(Percentage_Impurity_AMV,LOQ_Percentage)*Percentage_Impurity_AMV
92 | Percentage_Imp_LOQ_Report | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | GTE(Percentage_Impurity,LOQ_Percentage)*Percentage_Impurity+LT(Percentage_Impurity,LOQ_Percentage)*-1*60009
93 | Percentage_Known_Impurity | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | EQI(Peak Label,"K")*Amount*Dilution_Factor*Average_Weight/Label_Claim*MW1/MW2*Standard_Potency/100*100*RRF1/RRF2
94 | Percentage_Known_Imp_AN | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | EQI(Peak Label,"K")*Percentage_Area_Corrected_AN*RRF1/RRF2
95 | Percentage_Known_Imp_AN_Label | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | SAME.1..MAX(EQI(Peak Label,"K")*Percentage_Area_Corrected_AN*RRF1/RRF2)
96 | Percentage_Known_Imp_Area_Dis | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | EQI(Peak Label,"K")*Amount*Dilution_Factor*Average_Weight/Label_Claim*MW1/MW2*Standard_Potency/100*100*RRF1/RRF2*Corrected_Area_Area_Dis/Area
97 | Percentage_Known_IMP_Label | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | SAME.1..MAX(EQI(Peak Label,"K")*Amount*Dilution_Factor*Average_Weight/Label_Claim*MW1/MW2*Standard_Potency/100*100*RRF1/RRF2)
98 | Percentage_Recovery | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | Found_Amount_PPM/Added_Amount_PPM*100
99 | Percentage_Unknown_Impurity | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | EQI(Peak Label,"U")*Amount*Dilution_Factor*Average_Weight/Label_Claim*MW1/MW2*Standard_Potency/100*100*RRF1/RRF2
100 | Percentage_Unknown_Imp_AMV | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | EQI(Peak Label,"U")*Amount*STD_CON*TD1/1*TD3/TD2*TD5/TD4*TD6/TD7*Average_Weight/Label_Claim*(S1.%.(MW1/MW2*Standard_Potency/100))*100*RRF1/RRF2
101 | Percentage_Unknown_Imp_AN | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | EQI(Peak Label,"U")*Percentage_Area_Corrected_AN*RRF1/RRF2
102 | Percentage_UNK_IMP_AN_Label | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | SAME.1..MAX(EQI(Peak Label,"U")*Percentage_Area_Corrected_AN*RRF1/RRF2)
103 | Percentage_Unk_Imp_Area_Dis | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | EQI(Peak Label,"U")*Amount*Dilution_Factor*Average_Weight/Label_Claim*MW1/MW2*Standard_Potency/100*100*RRF1/RRF2*Corrected_Area_Area_Dis/Area
104 | Percentage_UNK_IMP_Label | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | SAME.1..MAX(EQI(Peak Label,"U")*Amount*Dilution_Factor*Average_Weight/Label_Claim*MW1/MW2*Standard_Potency/100*100*RRF1/RRF2)
105 | PERCENT_STANDARD_RSD | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | S1.%..%RSD(Area)
106 | Percnt_Area_Corrected_AN_Labl | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | Corrected_Area_AN_Label/Total_Corrected_Area_AN_Label*100
107 | Plate_Count_USP | Peak | Real (0.0) | 12 | 6 | -100000 | 100000 |  | Calculated | FALSE | 5.54*(Retention Time/Width @ 50%)**2
108 | PostedToLIMS | Result | Text | 5 |  |  |  |  | External | FALSE
109 | Product_Name | Sample | Text | 40 |  |  |  |  | Keyboard | FALSE
110 | Recovery | Peak | Real (0.0) | 12 | 1 | -10000000000 | 10000000000 |  | Calculated | FALSE | Found_Amount/Added_Amount*100
111 | Recovery_UNSP | Peak | Real (0.0) | 12 | 1 | -10000000000 | 10000000000 |  | Calculated | FALSE | Found_Amoun_UNSP/Added_Amount*100
112 | Relative_Resolution_HH | Peak | Real (0.0) | 12 | 6 | -100000 | 100000 |  | Calculated | FALSE | 1.18*((Retention Time)-CCompRef1[Retention Time])/(Width @ 50%+CCompRef1[Width @ 50%])
113 | Residual_Solvent | Peak | Real (0.0) | 12 | 1 | -10000000000 | 10000000000 |  | Calculated | FALSE | Amount*Dilution_Factor*Standard_Potency/100*1000000
114 | Response_Correction | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | (LTE(Area_Correction,0.0)*0.0)+(GT(Area_Correction,0.0)*Area_Correction)
115 | RESPONSE_RATIO | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | Similarity_factor*100
116 | ReviewedInLIMS | Result | Text | 20 |  |  |  |  | External | FALSE
117 | RRF1 | Component | Real (0.0) | 12 | 3 | -100000000 | 100000000 | 1 | Keyboard | FALSE
118 | RRF1_1 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | RRF1
119 | RRF2 | Component | Real (0.0) | 12 | 3 | -100000000 | 100000000 | 1 | Keyboard | FALSE
120 | RRF2_1 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | RRF2
121 | RSD_Percentage_Assay | Peak | Real (0.0) | 12 | 0 | -99999999999 | 100000000000 |  | Calculated | FALSE | SAME.%..%RSD(Assay_Single_Area)
122 | Sample Matrix | Sample | Enum | 32 | 0 | 0 | 0 |  | Keyboard | FALSE
123 | SampleName | Sample | Text | 60 | 0 | 0 | 0 |  | Keyboard | FALSE
124 | SampleWeight | Sample | Real (0.0) | 11 | 4 | 0 | 1000000 | 1 | Keyboard | FALSE
125 | Sample_Average_Area | Peak | Real (0.0) | 12 | 0 | -99999999999 | 100000000000 |  | Calculated | FALSE | .%..AVE(Area)+EQ(Injection,1)*-1*50000+EQ(Injection,3)*-1*50000
126 | Sample_Concentration_PPM | Component | Real (0.0) | 12 | 4 | -10000000 | 10000000 | 1 | Keyboard | FALSE
127 | Sample_Concentration_PPM_1 | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | Sample_Concentration_PPM
128 | Sample_Potency | Sample | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Keyboard | FALSE
129 | Sample_Response_Mean | Peak | Real (0.0) | 12 | 0 | -99999999999 | 100000000000 |  | Calculated | FALSE | SAME.%..AVE(Area)
130 | SD1 | Component | Real (0.0) | 12 | 2 | -100000000 | 100000000 | 1 | Keyboard | FALSE
131 | SD1_1 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | SD1
132 | SD2 | Component | Real (0.0) | 12 | 2 | -100000000 | 100000000 | 1 | Keyboard | FALSE
133 | SD2_1 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | SD2
134 | SD3 | Component | Real (0.0) | 12 | 2 | -100000000 | 100000000 | 1 | Keyboard | FALSE
135 | SD3_1 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | SD3
136 | SD4 | Component | Real (0.0) | 12 | 2 | -100000000 | 100000000 | 1 | Keyboard | FALSE
137 | SD4_1 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | SD4
138 | SD5 | Component | Real (0.0) | 12 | 2 | -100000000 | 100000000 | 1 | Keyboard | FALSE
139 | SD5_1 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | SD5
140 | SD6 | Component | Real (0.0) | 12 | 2 | -100000000 | 100000000 | 1 | Keyboard | FALSE
141 | SD6_1 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | SD6
142 | SD7 | Component | Real (0.0) | 12 | 2 | -100000000 | 100000000 | 1 | Keyboard | FALSE
143 | SD7_1 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | SD7
144 | SD_1 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | SD1
145 | SD_2 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | SD2
146 | SD_3 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | SD3
147 | SD_4 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | SD4
148 | SD_5 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | SD5
149 | SD_6 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | SD6
150 | SD_7 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | SD7
151 | Similarity_factor | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | Standard1_Average_Area/Standard2_Average_Area*Standard2_Weight/Standard1_Weight
152 | Similarity_Factor_Online | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | Control Value/Amount
153 | Similarity_Factor_RS | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | Standard1_Area_SF/Standard2_Area_SF*Standard2_Weight_SF/Standard1_Weight_SF
154 | Single_Max_Unknown_Impurity | Result | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | MAX(Percentage_Unknown_Impurity)
155 | Single_Max_Unknown_Imp_AMV | Result | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | MAX(Percentage_Unknown_Imp_AMV)
156 | Stage | Sample | Text | 35 |  |  |  |  | Keyboard | FALSE
157 | Standard1_Area_SF | Peak | Real (0.0) | 12 | 0 | -99999999999 | 100000000000 |  | Calculated | FALSE | S1.%.(Area)
158 | Standard1_Average_Area | Peak | Real (0.0) | 12 | 0 | -99999999999 | 100000000000 |  | Calculated | FALSE | S1.%..AVE(Area)
159 | Standard1_Weight | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | S1.%.(Value)
160 | Standard1_Weight_SF | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | S1.1.(Value)
161 | Standard2_Area_SF | Peak | Real (0.0) | 12 | 0 | -99999999999 | 100000000000 |  | Calculated | FALSE | S2.%.(Area)
162 | Standard2_Average_Area | Peak | Real (0.0) | 12 | 0 | -99999999999 | 100000000000 |  | Calculated | FALSE | S2.%..AVE(Area)
163 | Standard2_Weight | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | S2.%.(Value)
164 | Standard2_Weight_SF | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | S2.1.(Value)
165 | Standard_Average_Area | Peak | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Calculated | FALSE | B*vt
166 | Standard_Average_Area_Cal | Peak | Real (0.0) | 12 | 0 | -99999999999 | 100000000000 |  | Calculated | FALSE | B*vt
167 | Standard_Deviation_Perc_Assay | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | (RSD_Percentage_Assay*Average_Percentage_Assay)/100
168 | Standard_Potency | Component | Real (0.0) | 12 | 3 | -100000000 | 100000000 | 1 | Keyboard | FALSE
169 | Standard_Potency1 | Peak | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Calculated | FALSE | Standard_Potency
170 | Standard_Potency_1 | Peak | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Calculated | FALSE | Standard_Potency
171 | Standard_Potency_AMV | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | S1.%.(Standard_Potency)
172 | Standard_Weight | Peak | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Calculated | FALSE | vt
173 | STD_AVG_Area | Peak | Real (0.0) | 12 | 0 | -99999999999 | 100000000000 |  | Calculated | FALSE | S1.%..AVE(Area)
174 | STD_CON | Peak | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Calculated | FALSE | S1.%.(1/SD1*SD2/SD3*SD4/SD5*SD6/SD7)
175 | TD1 | Sample | Real (0.0) | 12 | 1 | -100000000 | 100000000 | 1 | Keyboard | TRUE
176 | TD2 | Sample | Real (0.0) | 12 | 1 | -100000000 | 100000000 | 1 | Keyboard | TRUE
177 | TD3 | Sample | Real (0.0) | 12 | 1 | -100000000 | 100000000 | 1 | Keyboard | TRUE
178 | TD4 | Sample | Real (0.0) | 12 | 1 | -100000000 | 100000000 | 1 | Keyboard | TRUE
179 | TD5 | Sample | Real (0.0) | 12 | 1 | -100000000 | 100000000 | 1 | Keyboard | TRUE
180 | TD6 | Sample | Real (0.0) | 12 | 1 | -100000000 | 100000000 | 1 | Keyboard | TRUE
181 | TD7 | Sample | Real (0.0) | 12 | 1 | -100000000 | 100000000 | 1 | Keyboard | TRUE
182 | Test_Target_Conc_PPM | Sample | Real (0.0) | 12 | 5 | -1000000 | 1000000 |  | Keyboard | FALSE
183 | Total_Corrected_Area_AN | Result | Real (0.0) | 12 | 0 | -99999999999 | 100000000000 |  | Calculated | FALSE | SUM(Corrected_Area_AN)
184 | Total_Corrected_Area_AN_Label | Result | Real (0.0) | 12 | 0 | -99999999999 | 100000000000 |  | Calculated | FALSE | SUM(Corrected_Area_AN_Label)
185 | Total_Impurities | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | Total_Known_Impurity+Total_Unknown_Impurity
186 | Total_Impurities_Area_Dis | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | Percentage_Known_Imp_Area_Dis+Percentage_Unk_Imp_Area_Dis
187 | Total_Impurities_LOQ_Dis | Result | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | SUM(GTE(Percentage_Impurity,LOQ_Percentage)*Percentage_Impurity)
188 | Total_Impurities_LOQ_Dis_AMV | Result | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | SUM(GTE(Percentage_Impurity_AMV,LOQ_Percentage)*Percentage_Impurity_AMV)
189 | Total_Impurity_Label | Result | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | Total_Kown_IMP_Label+Total_Unknow_IMP_Label
190 | Total_Imp_AN_LOQ_Dis | Result | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | SUM(Percentage_Imp_AN_LOQ_Dis)
191 | Total_Known_Impurity | Result | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | SUM(Percentage_Known_Impurity)
192 | Total_Kown_IMP_Label | Result | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | SUM(Percentage_Known_IMP_AN_Label)
193 | Total_Unknown_Impurity | Result | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | SUM(Percentage_Unknown_Impurity)
194 | Total_Unknow_IMP_Label | Result | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | SUM(Percentage_UNK_IMP_Label)
195 | Value_Amount_Table | Peak | Real (0.0) | 12 | 3 | -100000000 | 100000000 |  | Calculated | FALSE | .%.(Value)
196 | Water_Spl | Sample | Real (0.0) | 12 | 2 | -100000000 | 100000000 | 0 | Keyboard | TRUE
197 | Water_Std | Component | Real (0.0) | 12 | 2 | -100000000 | 100000000 | 0 | Keyboard | FALSE
198 | Water_Std_1 | Peak | Real (0.0) | 12 | 2 | -1000000000 | 1000000000 |  | Calculated | FALSE | Water_Std
199 | Weight | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | Value
200 | Weight_Per_mL | Sample | Real (0.0) | 12 | 3 | -100000000 | 100000000 | 1 | Keyboard | TRUE
201 | X_Axis_ppm | Peak | Real (0.0) | 12 | 4 | -10000000 | 10000000 |  | Calculated | FALSE | Value/SD1*SD2/SD3*SD4/SD5*SD6/SD7*Standard_Potency/100*MW1/MW2 *1000